{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["羽毛球馆空调清单"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"羽毛球馆空调清单","index":0,"n_rows":44,"n_cols":6,"rows_kept":44,"merged":[[0,0,0,5],[1,0,1,5],[44,0,44,5],[45,0,45,1],[45,3,45,5],[46,3,46,5]],"flags":["formulas_cached_only"]}
["武汉软件工程职业学院羽毛球馆降温系统设备采购清单、技术规格及要求"]
["注：投标文件中需注明货物品牌、规格、型号、详细技术参数等"]
["序号","项目名称","分项特征描述","计量单位","工程量","备 注"]
[null,"第一部分","设备部分"]
[1,"风冷高静压管道式空调机组","MDB300MR QL=78KW QR=90kw L=20400m3/h ","台",1]
[2,"风冷高静压管道式空调机组","MDB250MR QL=60KW QR=64kw L=13600m3/h ","台",1]
[null,"第二部分","氟系统安装"]
[3,"紫铜管","紫铜管ф15.88（焊接，壳管保温δ25mm)","M",{"v":54,"d":"54."}]
[4,"紫铜管","紫铜管ф28.6（焊接，壳管保温δ25mm)","M",{"v":22,"d":"22."}]
[5,"紫铜管","紫铜管ф34.9（焊接，壳管保温δ25mm)","M",{"v":32,"d":"32."}]
[6,"铜管安装","铜管安装劳务费","M",{"v":108,"d":"108."}]
[7,"塑料管","UPVC塑料管（冷凝水管）DN50，粘接；","M",{"v":55,"d":"55."}]
[8,"塑料管","UPVC塑料管（冷凝水管）DN32，粘接；","M",{"v":15,"d":"15."}]
[9,"塑料管保温","UPVC塑料管（冷凝水管）DN50，粘接；50*9","M",{"v":55,"d":"55."}]
[10,"塑料管","UPVC塑料管（冷凝水管）DN32，粘接；32*9","M",{"v":15,"d":"15."}]
[11,"室内机及管道支吊架制作安","管道支吊架制作安装，刷铁红酚醛防锈漆两道、调和漆两道；含弹簧减振支架","Kg",{"v":100,"d":"100."},"含制作及油漆"]
[12,"保温专用胶水","难燃型闭B1级泡橡塑保温材料专用保温胶水","桶",{"v":1,"d":"1."}]
[13,"冷媒","冷媒","KG",{"v":40,"d":"40."}]
[null,"第三部分","风系统"]
[14,"布袋风管","布袋风管Φ700","米",{"v":34,"d":"34."}]
[15,"布袋风管","布袋风管Φ630","米",{"v":34,"d":"34."}]
[16,"悬挂系统","悬挂系统钢丝绳","米",{"v":68,"d":"68."}]
[17,"PAD阀","PD阀Φ700","个",{"v":2,"d":"2."}]
[18,"PAD阀","PAD阀Φ630","个",{"v":2,"d":"2."}]
[19,"铝合金单层百叶回风口","门铰式铝合金单层百叶回风口（含网）1000*800mm；带安装及螺栓（喉部尺寸）","个",{"v":4,"d":"4."}]
[20,"防潮帆布软接","含加工","M2",{"v":10,"d":"10."},"含加工"]
[21,"送回风箱静压箱","送回风箱静压箱 1500*800*800mm；带安装及螺栓","套",{"v":4,"d":"4."}]
[null,"第四部分","机房及末端电气布线部分"]
[22,"机房主电缆","YJV3*35+2*16 一楼配电房至屋面主机配电箱总电缆暂估45","米",{"v":45,"d":"45."}]
[23,"室外机电源线","YJV3*10+1*6(2台外机+1台内机)分线","米",{"v":80,"d":"80."}]
[24,"电缆","电缆RVV5*2.5(2台外机+1台内机）控制线","米",{"v":80,"d":"80."}]
[25,"末端设备电气配管","材质:PVC管；规格:DN20；配置形式及部位:明敷；含86线盒","m",{"v":80,"d":"80."}]
[26,"防雨配电柜","防雨配电柜","套",{"v":2,"d":"2."}]
[27,"机房配电柜","机房配电柜","套",{"v":1,"d":"1."}]
[28,"机房控制部分电源线及施工","机房控制部分各类电源线及线管；施工劳务费（电气施工部分）","套",{"v":2,"d":"2."}]
[29,"桥架安装及相应辅材","200*100镀锌板机房桥架、电缆头制安等","m",{"v":30,"d":"30."}]
[30,"辅材",null,"项",{"v":1,"d":"1."}]
[null,"第五部分","水系统劳务部分"]
[31,"安装","风冷高静压管道式空调机组（含内外机）","台",{"v":2,"d":"2."}]
[32,"屋面设备钢结构基础","屋面设备钢结构基础","项",{"v":1,"d":"1."}]
[33,"设备吊装落位费",null,"项",{"v":1,"d":"1."},"专业搬运"]
[34,"材料及人工交通运输费",null,"项",{"v":1,"d":"1."},"交   通"]
[null,"第六部分","施工管理费"]
[35,"施工管理费","项目管理费、规费为工程安装部分的2%（设备除外）","项",{"v":1,"d":"1."}]